Which source is associated with a line emission spectrum?

A. Electric fire

B. Neon street sign

C. Red traffic light

D. Sun

ANSWER: B

According to the uncertainty principle for an electron, time measurement will become uncertain if which of the following is measured with high certainty?

A. Energy

B. Momentum

C. Location

D. Velocity

ANSWER: A

Find the true statement.

A. An electron will not lose energy when jumping from the 1st orbit to the 3rd orbit

B. An electron will not give energy when jumping from the 1st orbit to the 3rd orbit

C. An electron will release energy when jumping from the 1st orbit to the 3rd orbit

D. An electron will absorb energy when jumping from the 1st orbit to the 3rd orbit

ANSWER: D

Which of the following is the principle of Atomic Absorption Spectroscopy?

A. Radiation is absorbed by non-excited atoms in vapour state and are excited to higher states

B. Medium absorbs radiation and transmitted radiation is measured

C. Colour is measured

D. Colour is simply observed

ANSWER: A

In Atomic Absorption Spectroscopy, which of the following is the generally used radiation source?

A. Tungsten lamp

B. Xenon mercury arc lamp

C. Hydrogen or deuterium discharge lamp

D. Hollow cathode lamp

ANSWER: D

In Atomic Absorption Spectroscopy, with what material is the cathode in Hollow cathode lamp constructed?

A. Tungsten

B. Quartz

C. Element to be investigated

D. Aluminium

ANSWER: C

How can the intensity of radiation be increased in Hollow cathode lamp?

A. Addition of non-conductive protective shield of mica

B. Addition of nitrogen to neon or argon in the lamp

C. Increasing the pressure of the filling gas

D. Changing the metal of the anode

ANSWER: A

Which of the following is the function of the chopper in Atomic Absorption Spectroscopy?

A. To split the beam into two

B. To break the steady light into a pulsating light

C. To filter unwanted components

D. To reduce the sample into atomic state

ANSWER: B

Which of the following is correct for absorption spectroscopy?
A. Detect 40 elements
B. It absorb radiation of particular wavelength
C. It needs high energy source
D. Both A and B
ANSWER: B
Which of the following is the function of the Flame or Emission system in Atomic Absorption Spectroscopy?

A. To split the beam into two

B. To break the steady light into pulsating light

C. To filter unwanted components

D. To reduce the sample into atomic state

ANSWER: D

Which of the following is not a component of the emission system in Flame photometer?

A. Burner

B. Atomiser

C. Fuel gases and their regulation

D. Chopper

ANSWER: D

Which of the following is the function of the atomiser in the emission system of Atomic Absorption Spectroscopy?

A. To split the beam into two

B. To break the steady light into pulsating light

C. To break large mass of liquid into small drops

D. To reduce the sample into atomic state

ANSWER: C

Which of the following is not a fuel used in flame photometry?

A. Acetylene

B. Propane

C. Hydrogen

D. Camphor oil

ANSWER: D

Which of the following is not the requirement of a good flame in flame photometer?

A. Liquid sample must be evaporated to form solid residue

B. Solid residue must decompose to form atoms

C. Atoms must be produced such that they have the ability to get excited to higher states

D. Atoms must be produced such that they are in stable state

ANSWER: D

Which of the following is correct for emission spectroscopy?
A. Detect 40 elements
B. It absorb radiation of particular wavelength
C. It needs high energy source
D. Both A and B
ANSWER: D